Local Stormwater Design Manual

For

Macon-Bibb County, Georgia

Adopted October 17, 2017

Amendments Page

Date	Change Description					Commission Approval Date/NA

TABLE OF CONTENTS

1. FOREWORD ............................................................................................................................7

2. GENERAL LEVEL OF SERVICE STANDARDS ...............................................................8

2.1. DETENTION REQUIREMENTS ...........................................................................................8

2.1.1. Discharge Rates from New Development Projects................................................................8

2.1.2. Discharge Rates from Redevelopment Projects.....................................................................8

2.2. CONVEYANCE SYSTEMS....................................................................................................9

2.2.1. Bridges ..................................................................................................................................9

2.2.2. Culverts & Pipe Systems.......................................................................................................9

2.2.3. Inlets (Catch Basins, Yard Inlets, Drop Inlets, Hooded Grate Inlets and Flumes)  ……….10

2.2.4. Inlets (Headwalls, Flared End Sections, etc.).......................................................................10

2.2.5. Roadside Ditches ................................................................................................................. 11

2.2.6. Drainage Channels ................................................................................................................11

2.3. UNIFIED STORMWATER SIZING CRITERIA....................................................................11

2.3.1. Water Quality in New Development .....................................................................................11

2.3.2. Water Quality in Redevelopment ..........................................................................................11

2.4. CHANNEL PROTECTION......................................................................................................12

2.4.1. Channel Protection for New Development Projects...............................................................12

2.4.2. Channel Protection for Redevelopment Projects....................................................................12

2.5     OVERBANK FLOOD PROTECTION……………………………………………………..12

2.6      EXTREME FLOOD PROTECTION………………………………………………………12

2.7. ENERGY DISSIPATION .........................................................................................................13

2.8   HIGHWAYS – NEW CONSTRUCTION AND WIDENING PROJECTS ……………….13

3. APPROVED CONSTRUCTION MATERIALS & BMPS...................................................14

3.1. CONVEYANCE STRUCTURES...........................................................................................14

3.1.1. Pipes Under Roads and Within the Public Right-of-Way.and Residential Lots………..…14

3.1.2. Pipes in Commercial Developments…………………………………………………...…..14

3.1.3. Soil Resistivity and pH Tests…………………………………………………………..…..14

3.1.4 Post Inspection Testing ….………………………………………………………..………..14

3.1.5. Channels ...............................................................................................................................14

3.1.6 Inlets.......................................................................................................................................14

3.2. DETENTION PONDS ............................................................................................................15

3.2.1. Dry or Wet Earthen Detention Ponds....................................................................................15

3.2.2. Underground Detention Ponds..............................................................................................15

3.3. WATER QUALITY BEST MANAGEMENT PRACTICES .................................................15

3.3.1. General and Limited Application Structural Stormwater Controls.......................................15

3.3.2. Proprietary Structural Controls .............................................................................................15

3.4. CHANNEL PROTECTION DESIGN......................................................................................16

4. APPROVED HYDROLOGIC & HYDRAULIC METHODS..............................................17

4.1. HYDROLOGIC METHODS ..................................................................................................17

4.1.1. Rational Method....................................................................................................................17

4.1.2. SCS Method..........................................................................................................................17

4.2. HYDRAULIC METHODS .................................................................................................... 17

5. SPECIAL DISTRICTS.............................................................................................................18

6. HYDROLOGIC & HYDRAULIC REPORT REQUIREMENTS.....................................19

6.1. PROFESSIONAL CERTIFICATION...................................................................................19

6.2. EXISTING CONDITIONS HYDROLOGIC ANALYSIS ...................................................19

6.2.1. Existing Conditions Map.....................................................................................................19

6.2.2. Existing Conditions Tables .................................................................................................19

6.2.3. Narratives ............................................................................................................................19

6.3. POST-DEVELOPMENT HYDROLOGIC ANALYSIS....................................................................................................................................20

6.3.1. Post Development Conditions Map ....................................................................................20

6.3.2. Post Development Conditions Tables .................................................................................21

6.3.3. Narratives ............................................................................................................................21

6.4. STORMWATER MANAGEMENT SYSTEM DESIGN......................................................21

6.4.1. Stormwater Management System Map................................................................................21

6.4.2. Narratives ............................................................................................................................22

6.5. DOWNSTREAM ANALYSIS ..............................................................................................22

6.5.1. Maps.....................................................................................................................................23

6.5.2. Narratives .............................................................................................................................23

6.6. PLANTING PLAN..................................................................................................................23

6.7. OPERATIONS & MAINTENANCE PLAN ..........................................................................23

APPENDICES

Model Stormwater Report Check List ............................................................................Appendix A

Attachment

Pipe Selection Guide

1. FOREWORD

This manual is meant to serve as a comprehensive guide to implementing stormwater management systems in Macon-Bibb County, Georgia. Additionally, the manual is designed to supplement the Georgia Stormwater Management Manual (GSMM) Second Edition, which shall serve as the technical manual for design and specification of individual components within the system.

2. GENERAL LEVEL OF SERVICE STANDARDS

2.1. Detention Requirements

2.1.1. Discharge Rates from New Development Projects

Development plans including site grading and drainage plans should be developed to minimize disruption of natural drainage patterns on properties as well as to minimize impacts to downstream drainage infrastructure and structures. Whenever a Hydrologic & Hydraulic Report (as defined in Section 6 of this document) indicates a potentially adverse impact resulting from development of a property, that project shall incorporate stormwater detention facilities as outlined herein. The meaning of adverse impact shall apply to situations where the post development discharge rates, up to and including the 100 year storm event, exceed those determined for the pre-developed conditions, or where downstream conditions indicate that the conveyance and /or storage capacity of the existing infrastructure could be inundated by the post development conditions, or where existing structures could be impacted by the post developed conditions. Additionally, no significant increases in stormwater runoff rates shall be allowed at any discharge point on the site which would negatively affect adjacent property owners The baseline predevelopment condition of new sites shall be, as a minimum, pasture land in good condition.  If actual conditions indicate that less runoff would occur than for pasture, then the actual conditions shall be modeled.

The development shall be analyzed for the following storm events:

2-year 24-hour Design Storm

5-year 24-hour Design Storm

10-year 24-hour Design Storm

25-year 24-hour Design Storm

50-year 24-hour Design Storm

100-year 24-hour Design Storm

If the total area of the site (i.e. total property area) and the drainage area to each stormwater management facility is less than one acre, then a rainfall intensity based analysis (i.e. rational method) may be performed. If detention facilities are to be designed and constructed in series, the 24-hour storm criteria will apply regardless of the drainage area.

2.1.2. Discharge Rates from Redevelopment Projects

Development plans including site grading and drainage plans should be developed to minimize disruption of natural drainage patterns on properties as well as to minimize impacts to downstream drainage infrastructure and structures. Whenever a Hydrologic & Hydraulic Report (as defined in Section 6 of this document) indicates a potentially adverse impact resulting from development of a property, that project shall incorporate stormwater detention facilities as outlined herein. The meaning of adverse impact shall apply to situations where the post development discharge rates, up to and including the 100 year storm event, exceed those determined for the pre-developed conditions, or where downstream conditions indicate that the conveyance and /or storage capacity of the existing infrastructure could be inundated by the post development conditions, or where existing structures could be impacted by the post developed conditions. Additionally, no significant increases in stormwater runoff rates shall be allowed at any discharge point on the site. The baseline predevelopment condition of redevelopment sites shall be the existing conditions of the site including any existing depression or detention storage.  Any vegetated areas shall be presumed to be a minimum of pasture land in good condition.  If actual conditions indicate that less runoff would occur than for pasture, then the actual conditions shall be modeled.  The development shall be analyzed for the following storm events:

2-year 24-hour Design Storm

5-year 24-hour Design Storm

10-year 24-hour Design Storm

25-year 24-hour Design Storm

50-year 24-hour Design Storm

100-year 24-hour Design Storm

If the total area of the site (i.e. total property area) and the drainage area to each stormwater

management facility is less than one acre, then a rainfall intensity based analysis (i.e. rational

method) may be performed. If detention facilities are to be designed and constructed in series,

the 24-hour storm criteria will apply regardless of the drainage area.

2.2. Conveyance Systems

2.2.1. Bridges

All bridges shall be designed to accommodate the 100-year 24-hour design storm with no over-topping.

2.2.2. Culverts & Pipe Systems

Roadway Classification / Use 					Design Storm

Arterial / Emergency Evacuation Roadway 				100-Year

Collector Roads 							50-Year

Neighborhood Roads 							25-Year

Roads with No Other Outlet serving 10 or more

homes or equivalent commercial properties				100-Year

Parking Lots / Material Storage Areas / Landscape Areas 		10-Year

If a culvert is designed to connect to an existing system of a differing design level of service, then the system with the greater design requirement will be used to size the proposed system.

2.2.3. Inlets (Catch Basins, Yard Inlets, Drop Inlets, Hooded Grate Inlets and Flumes)

Inlets collecting stormwater runoff from street surfaces and area inlets shall be sized to capture the storm event specified for the pipe system to which it drains and a maximum flooding depth as determined by the following table:

Roadway Classification / Use 					Flooding Depth

Arterial / Emergency Evacuation Roadway 			8.0 ft Maximum Gutter Spread

Collector Roads 						8.0 ft Maximum Gutter Spread

Neighborhood Roads 						8.0 ft Lane Width Open

Roads with No Other Outlet 					One Lane Width Open

Parking Lots 							Maximum 0.5 ft Depth

Detention Areas utilized for other purposes (i.e. parking lot detention, etc.) with flood

warning sign							Maximum 1.5 ft Depth

Material Storage Areas / Landscape Areas with flood warning sign if area is utilized

by the public							Maximum 2.0 ft Depth

Inlets and grading adjacent to habitable structures shall be designed to prevent stormwater runoff

from entering the structure during the 100-year design storm.

2.2.4. Inlets (Headwalls, Flared End Sections, etc.)

Inlets that utilize the opening of the pipe as the inlet (i.e. headwalls, flared end sections, etc.) shall be sized to capture the storm event specified for the pipe system to which it drains and a maximum flooding depth that will not result in bypass of the inlet or cause structural / nuisance flooding.

2.2.5. Roadside Ditches

Roads constructed without curb and gutter shall incorporate ditches that are designed to the specific design storms as shown in the following table:  Ditches may be installed with less capacity only if the engineer demonstrates that the flow may be accommodated in other ways without causing a traffic safety problem or causing damage to private property.

Roadway Classification / Use 				Design Storm

Arterial / Emergency Evacuation Roadway 			100-Year

Collector Roads 						50-Year

Neighborhood Roads 						25-Year

Roads with No Other Outlet serving 10 or more

homes or equivalent commercial properties			100-Year

2.2.6. Drainage Channels

For drainage channels designed to convey stormwater runoff either from or to a culvert, the channel should be sized to accommodate the same storm event specified for the pipe system.

Channels designed to convey stormwater runoff to and from detention ponds shall be sized to accommodate the 100-year design storm.

2.3. Unified Stormwater Sizing Criteria

2.3.1. Water Quality in New Development

All stormwater runoff generated from a site shall be adequately treated before discharge. Stormwater management systems must be designed to remove 80% of the average annual post-development total suspended solids (TSS) load and be able to meet any other additional watershed or site-specific water quality requirements. This is expressed as the water quality volume as specified in the GSMM.  It is presumed that a stormwater management system complies with this performance standard if:

It is sized to capture and treat the prescribed water quality treatment volume, which is defined as the runoff volume resulting from the first 1.2 inches of rainfall from a site.

Appropriate structural controls are selected, designed, constructed, and maintained according to the specific criteria in this manual and the GSMM.

Additional water quality requirements may be specified for hotspot land uses and activities.

Runoff Reduction:  In lieu of treating the first 1.2 inches of rainfall to remove 80% of the TSS, the designer may elect to retain the first 1.0 inch of rainfall on the site.  This is expressed as the runoff reduction volume as specified in the GSMM.  This ensures that 100% of the TSS for this 1.0 inch are retained on site.

Combination Treatment:  Where the entire 1.0 inch runoff reduction standard cannot be achieved, the remaining runoff from the 1.2 inch rainfall event must be treated by BMPs to remove at least 80% of the calculated average annual post development TSS loading from the site.  This means that the same amount of TSS must be removed by the combination treatment as would be removed by either the 80% treatment of the 1.2 inches or the 1.0 inch runoff reduction.

2.3.2. Water Quality in Redevelopment

All stormwater runoff generated from the disturbed area of the site shall be adequately treated before discharge. Stormwater management systems must be designed to remove 80% of the average annual post-development total suspended solids (TSS) load and be able to meet any other additional watershed or site-specific water quality requirements. This is expressed as the water quality volume as specified in the GSMM.  It is presumed that a stormwater management system complies with this performance standard if:

It is sized to capture and treat the prescribed water quality treatment volume, which is defined as the runoff volume resulting from the first 1.2 inches of rainfall from a site.

.

Appropriate structural controls are selected, designed, constructed, and maintained according to the specific criteria in this manual and the GSMM.

Additional, water quality requirements may be specified for hotspot land uses and activities.

Runoff Reduction:  In lieu of treating the first 1.2 inches of rainfall to remove 80% of the TSS, the designer may elect to retain the first 1.0 inch of rainfall on the site.  This is expressed as the runoff reduction volume as specified in the GSMM.  This ensures that 100% of the TSS for this 1.0 inch are retained on site.

Combination Treatment:  Where the entire 1.0 inch runoff reduction standard cannot be achieved, the remaining runoff from the 1.2 inch rainfall event must be treated by BMPs to remove at least 80% of the calculated average annual post development TSS loading from the site.  This means that the same amount of TSS must be removed by the combination treatment as would be removed by either the 80% treatment of the 1.2 inches or the 1.0 inch runoff reduction.

2.4. Channel Protection

2.4.1. Channel Protection for New Development Projects

Channel protection shall be provided for each site by providing extended detention of the 1-year storm event released over a period of 24-hours.

2.4.2. Channel Protection for Redevelopment Projects

Channel protection shall be provided for the disturbed portion of each site by providing extended detention of the 1-year storm event released over a period of 24-hours.

2.5 Overbank Flood Protection.

2.5.1 Overbank flood protection shall be provided by controlling the post-development peak discharge rate to the pre-development rate (natural or existing condition, as applicable) for the 25-year, 24-hour return frequency storm.

2.6 Extreme Flood Protection

Extreme flood protection shall be provided by controlling and/or safely conveying the 100-year, 24-hour storm event.  This is accomplished through BMP’s to maintain the existing 100-year floodplain, or by sizing the on-site conveyance system to safely pass the flow and allowing it to discharge into a receiving water whose protected floodplain is sufficiently sized to account for extreme flow increases without causing damage.

2.7. Energy Dissipation

Energy dissipation shall be employed whenever the velocity of flows leaving a new stormwater facility exceeds the erosion velocity of the downstream area channel area or five fps whichever is less.

2.8 Highways - New Construction and Widening Projects

Drainage requirements caused by the construction of new highways and the widening of existing arterial and collector roads in Macon-Bibb County shall be governed by the standards of the Georgia Department of Transportation (GDOT).  The designer must provide a copy of the applicable sections of the Post Construction Stormwater Report.

The GDOT standards do not apply to the construction of new local roads developed as a part of a traditional subdivision.  Local roads developed as a part of a new subdivision shall be governed by the standards of this manual.

3. APPROVED CONSTRUCTION MATERIALS & BMPs

3.1. Conveyance Structures

3.1.1. Pipes Under Roads and Within the Public Right-of-Way and Pipes in Residential Lots.

Pipes installed in Macon-Bibb County shall conform as a minimum to the Pipe Selection Guide attached to this document.  In general, pipes in all Macon-Bibb County rights-of-way installed by private contractors must be concrete or may be aluminum or zinc coated corrugated metal or corrugated aluminum if the site meets certain soil resistivity or pH limits.  In addition to these, corrugated smooth lined HDPE and PVC corrugated smooth interior pipes may also be used on residential lots.  All pipes must be installed in accordance with the manufacturer’s recommendations unless Macon-Bibb County has a stricter standard.

Maximum deflection of installed pipe systems shall be in accordance with manufacturer’s specifications.

3.1.2. Pipes in Commercial Developments

In commercial developments and not within the county rights-of-way the developer is encouraged to use those pipes approved for county rights-of-way.  However, the developer may use any other pipe that he or she chooses provided he or she signs a written acknowledgement of his or her approval of the pipe specified.

3.1.3. Soil resistivity and pH tests in number appropriate to the site must be submitted to Macon-Bibb County from an approved commercial testing company for any project using metal pipes.

3.1.4 Post inspection testing.  For all projects the contractor must perform post installation inspection in accordance with the Georgia Department of Transportation specification 550.3.06.  Visual inspection methods may be used for projects with less than 100 LF total of pipe.

3.1.5. Channels

All channels must be protected from erosion through the use of rip-rap, concrete, erosion control matting or similar method acceptable to the County. All channel side slopes shall have a maximum slopes as indicated below.

Depth of Ditch				Cut Sections			Fill Sections

0-5 Feet				3(H) to 1(V)			3 to 1

>5 Feet				1.5 to 1			2 to 1

3.1.6. Inlets

All inlets shall be constructed of materials and methods approved by the Georgia Department of Transportation and designs pre-approved by Macon-Bibb County. The City of Macon Standard for inlet design and construction is also acceptable.

Inlet covers (where appropriate) shall be designed and manufactured in accordance with local construction standards related to storm drain stenciling and pollution prevention education. The Owner and/or designer shall consult Macon-Bibb County regarding specific requirements for storm drain covers and inlets.

3.2. Detention Ponds

3.2.1. Dry or Wet Earthen Detention Ponds

Detention ponds shall be designed to provide for positive drainage on the pond floor to the outlet of the pond. Side slopes shall be designed to have a maximum of 3-feet horizontal to 1-foot vertical (3:1) slopes. If the 100-year maximum water surface depth is equal to or greater than four feet, then a standard four foot chain link fence shall be constructed around the detention pond with a 20-foot gate provided to allow access.

Acceptable backfill and fill materials shall consist of suitable soils for dam construction as determined by Macon-Bibb free of rock or gravel larger than 1-inch in any dimension, debris, waste, frozen materials, vegetation, and other deleterious matter. Backfill and fill materials should be placed in layers not more than 8-inches in loose depth for material compacted by heavy compaction equipment, and not more than 4-inches in loose depth for material compacted by hand-operated tampers. Each layer should be uniformly moistened or aerated before compaction to within 3 percent of optimum moisture content. Layers should not be placed on surfaces that are muddy, frozen, or contain frost or ice. All backfill and fill materials should be placed evenly to required elevations, and uniformly along the full length of the embankment. Additionally, soils should be compacted to at least 95% maximum dry unit weight according to ASTM D 698.

3.2.2. Underground Detention Ponds

No underground detention pond shall be constructed on new residential development projects. Underground detention ponds may be considered on non-residential development projects after the Engineer has shown that construction of an aboveground detention pond is not feasible.

3.3. Water Quality Best Management Practices

3.3.1. General application structural stormwater controls and limited application structural controls as well as low impact development controls are given in the GSMM.  Any application defined in the GSMM is acceptable provided the engineer can demonstrate the appropriateness of the application for the particular site.

3.3.2. Proprietary Structural Controls

The Macon-Bibb County Engineering Department may at their discretion allow proprietary structural controls. Prior to specification of such a device, the designer shall consult the Engineering Department to determine if the control will be acceptable.

3.4. Channel Protection Design

Outlets to provide for meeting channel protection criteria shall be designed to meet the standards outlined in the GSMM.

4. APPROVED HYDROLOGIC & HYDRAULIC METHODS

4.1. Hydrologic Methods

4.1.1. Rational Method

The rational method may be used with the approval of Macon-Bibb County Engineering Department or its Agent to develop peak runoff flows for culverts or to size ponds within the limits specified in the GSMM.  All computations shall be in accordance with the GSMM. Rainfall intensities shall be derived from the National Oceanic and Atmospheric Administration data currently provided by the web link http://hdsc.nws.noaa.gov/hdsc/pfds/.

4.1.2. SCS or USGS Methods

In most cases, the Soil Conservation Service (SCS) or Natural Resource Conservation Service methods must be utilized to size detention ponds in accordance with the GSMM.   The rational method may be used with the limitations specified in the GSMM.   All computations shall be in accordance with the GSMM. Rainfall depths shall be derived from the NOAA web site specified in 4.1.1.  The following table also provides the rainfall depths for use in Macon-Bibb County:

Design Storm Rainfall Depth

1-Year 24-Hour 3.30”

2-Year 24-Hour 3.75”

5-Year 24-Hour 4.55”

10-Year 24-Hour 5.28”

25-Year 24-Hour 6.36”

50-Year 24-Hour 7.27”

100-Year 24-Hour 8.23”

4.2. Hydraulic Methods

All hydraulic calculations shall be made in accordance with the GSMM

5. SPECIAL DISTRICTS

The Macon-Bibb County Engineering Department may establish special design criteria for select areas based on the findings of watershed assessments, hydrologic and hydraulic reports, and known flooding issues. The designer is encouraged to consult with the Engineering Department to determine if any special districts exist within Macon-Bibb County.  Macon-Bibb County currently requires that the following locations provide sufficient detention or other practices to reduce the flows on new development projects to 90% of the predevelopment flows.

Most of basin 7-roughly bounded by Hartley Bridge Rd, Sandy Circle, Hawkinsville Rd, Avondale Mill Rd, Grace Rd, Walden Rd, Goodall Mill Rd, and Skipperton Rd.

Most of basin 6-roughly bounded by Hartley Bridge Rd on the NW, Skipperton Rd, Goodall Mill Rd, cross country south of Perkins Cir, to I-475, back to Hartley Bridge Rd

The portions of Basins 47, 48, and 49 that drain to Lake Wildwood.

6. HYDROLOGIC & HYDRAULIC REPORT REQUIREMENTS

All development projects must submit a hydrologic and hydraulic report outlining the impacts of the site on the stormwater system. At a minimum, this report must include the following sections:

Certification by Registered Professional

Existing Conditions Hydrologic Analysis

Post-Development Hydrologic Analysis

Stormwater Management System Design

Downstream Analysis

Erosion & Sedimentation Control Plan

Planting Plan (if applicable)

Operations & Maintenance Plan

The following subsections outline the requirements for each of the elements outlined above.

6.1. Professional Certification

Each report should begin with the following statement and be signed and sealed by the professional who prepared the report and analysis:

“I, (Name of Professional), a Registered (Professional Engineer / Land Surveyor) in the State of Georgia, hereby certify that the grading and drainage plans for the project known as (Project Name), lying in Land Lot (XXX), of the (XX) District, Bibb County, Georgia, have been prepared under my supervision, and, state that in my opinion, the construction of said project will not produce storm drainage conditions that will cause damage or adversely affect the surrounding properties. This (day) day of (Month), (Year).”

6.2. Existing Conditions Hydrologic Analysis

The existing conditions hydrologic analysis should provide the reader with a comprehensive evaluation of the site conditions prior to development of the project. The designer should provide the following information with this element of the report:

6.2.1. Existing Conditions Map

Topography (2-ft. or less contour interval) of existing site conditions

Perennial / intermittent streams, wetlands, lakes and other surface water features

Drainage basin delineations showing the location of each drainage sub-basin

Drainage basin delineations for each contributing drainage basin upstream of the project

site on an appropriate map (USGS Quadrangle, etc.)

Existing stormwater conveyances and structural control facilities

Direction of flow and discharge points from the site including sheet flow areas

Any area of significant depression storage

6.2.2. Existing Conditions Tables

A table listing the acreage, soil types and land cover characteristics for each sub-basin

A table listing the peak runoff rates and total runoff volumes from each sub-basin

A table listing the peak runoff rates and total runoff volumes for each drainage area upstream of the project site

A table listing the peak runoff rates and maximum water surface elevations for all detention facilities studied as part of the existing conditions analysis

6.2.3. Narratives

Written description of the existing conditions found on the site

Analysis of runoff provided by off-site areas upstream of the project site

Methodologies, assumptions, site parameters and supporting design calculations used in analyzing the existing conditions site hydrology

6.3. Post-Development Hydrologic Analysis

The post-development hydrologic analysis should provide the reader with a comprehensive evaluation of the anticipated site conditions following development of the project. The designer should provide the following information with this element of the report:

6.3.1. Post Development Conditions Map

Topography (2-ft or less contour interval) of proposed site conditions

Perennial/intermittent streams, wetlands, lakes and other surface water features

Drainage basin delineations showing the location of each drainage sub-basin

Proposed stormwater conveyances and structural control facilities.  Where metal pipes are proposed to be used, the designer must provide a soils analysis report indicating that the pH and resistivity range of the soil is acceptable for the pipes specified.

Direction of flow and discharge points from the site including sheet flow areas

Location and boundaries of proposed natural feature protection areas

6.3.2. Post Development Conditions Tables

A table listing the acreage, soil types, impervious surface area and land cover characteristics for each sub-basin

A table listing the peak runoff rates and total runoff volumes from each sub-basin

A table listing the peak runoff rates and total runoff volumes for each drainage area upstream of the project site

A table listing the peak discharge rates, total runoff volumes and peak elevations for all detention ponds studied

6.3.3. Narratives

Written description of the existing conditions found on the site

Stormwater calculations for water quality, channel protection and post construction detention for each sub-basin affected by the project

Documentation and calculations for any applicable site design credits that are being utilized

Methodologies, assumptions, site parameters and supporting design calculations used in the analyzing the post development conditions site hydrology

6.4. Stormwater Management System Design

The stormwater management system design should provide the reader with a comprehensive description of the proposed stormwater management system components on site. The designer should provide the following information with this element of the report:

6.4.1. Stormwater Management System Map

Location of all non-structural stormwater controls

Location of all existing stormwater controls to remain after development

Location of all proposed stormwater controls

Location of all proposed impoundment type controls (i.e. detention ponds, stormwater ponds, stormwater wetlands, etc.)

Location of all conveyance structures

All impoundment type controls should be labeled with the following information:

maximum water surface elevation, depth and storage volumes for both the design storm and maximum water surface if the design storm event is exceeded (i.e. top of dam)

All inlets to conveyance structures should be labeled with the following information:

maximum design water surface and maximum potential water surface

All pipes should be labeled with length, material and slope

All pipes should be profiled and labeled with length, material, slope and hydraulic grade line

Map showing all contributing drainage areas/sub-basin delineations

6.4.2. Narratives

Narrative describing that appropriate and effective structural stormwater controls have been selected

Design calculations and elevations for all existing and proposed stormwater conveyance elements including stormwater drains, pipes culverts catch basins, channels, swales and areas of overland flow

Design calculations and elevations for all structural water quality Best Management Practices to be utilized for water quality improvement

Design calculations showing that the design meets the requirements of the water quality improvements as outlined in the ordinance and local design manual

6.5. Downstream Analysis

The downstream analysis should provide the reader with a comprehensive picture of the downstream areas and their capacity to accommodate stormwater runoff from the proposed development.

6.5.1. Maps

Drainage basin delineations showing the point at which the contributing area of the project represents 10% of the total drainage basin area as defined in the GSMM

Identify culverts, channels and other structural stormwater controls that the stormwater runoff must pass through prior to the 10% point identified previously

6.5.2. Narratives

Supporting calculations for a downstream peak flow analysis using the 10% rule necessary to show safe passage of the post-development design flows downstream

6.6. Planting Plan

A planting plan should be included in the report for all water quality BMPs that utilize vegetation as a pollutant removal method. Examples of these types of controls include but are not limited to stormwater wetlands, enhanced swales, etc.

6.7. Operations & Maintenance Plan

A narrative of what maintenance tasks will be required for the stormwater controls specified for the site as well as the responsible parties. Additionally, the report will need to identify access and safety issues for the site. Maintenance issues for various BMPs and other stormwater controls can be found in the GSMM.

Appendix A

MODEL STORMWATER REPORT CHECK LIST

Section 1. Report Format

1.1 Does the Hydrologic & Hydraulic Report contain the following information:

Provided 	Missing

⁭		⁭	Name of the Development

⁭		⁭	Name of the Developer

⁭		⁭	Location Map of the Site referencing the nearest major road

⁭		⁭	Stormwater Impact Certification

⁭		⁭	Seal of the Professional having prepared the Report

1.2 Does the Hydrologic & Hydraulic Report contain the following sections:

Provided 	Missing 	N/A

⁭		⁭		⁭	Existing Conditions Hydrologic Analysis

⁭		⁭		⁭	Post Development Hydrologic Analysis

⁭		⁭		⁭	Stormwater Management System Design

⁭		⁭		⁭	Downstream Analysis

⁭		⁭		⁭	Erosion & Sedimentation Control Plan

⁭		⁭		⁭	Planting Plan (if applicable)

⁭		⁭		⁭	Operations & Maintenance Plan

Section 2. Existing Conditions Hydrologic Analysis

2.1 This section should provide the reader with a comprehensive evaluation of the site conditions prior to development of the project.

2.2 Narratives – A narrative and supporting calculations of the pre-development conditions of the site as related to stormwater management should be provided to determine the current characteristics of the site.

⁭	Written description of the existing conditions found on the site

⁭	Name of the receiving waters from which runoff drains to after leaving the site

⁭	Analysis of runoff provided by off-site areas upstream of the project site

⁭	Methodologies, assumptions, site parameters and supporting design calculations

used in the analyzing the existing conditions site hydrology

2.3 Existing Conditions Map – A map documenting the following elements should be

provided with the following information if applicable.

⁭	Topography (2-ft. or less contour interval) of existing site conditions

⁭	Perennial / intermittent streams, wetlands, lakes and other surface water features

⁭	Drainage basin delineations showing the location of each drainage sub-basin

⁭	Drainage basin delineations for each contributing drainage basin upstream of the project site on an appropriate map (USGS Quadrangle, etc.)

⁭	Existing stormwater conveyances and structural control facilities

⁭	Soil types including hydrologic soil groups

⁭	Direction of flow and discharge points from the site including sheet flow areas

2.4 Existing Conditions Tables – Tables documenting the following information should be provided if applicable.

⁭	A table listing the acreage, soil types and land cover characteristics for each sub-basin

⁭	A table listing the peak runoff rates and total runoff volumes from each sub-basin

⁭	A table listing the peak runoff rates and total runoff volumes for each drainage area upstream of the project site

Section 3. Post-Development Hydrologic Analysis

3.1 The post-development hydrologic analysis should provide the reader with a comprehensive evaluation of the anticipated site conditions following development of the project. The designer should provide the following information with this element of the report:

3.2 Narratives – A narrative and supporting calculations of the post-development conditions of the site as related to stormwater management should be provided to determine the future stormwater characteristics of the site.

⁭	Written description of the existing conditions found on the site

⁭	Stormwater calculations for water quality, channel protection and post construction detention for each sub-basin affected by the project

⁭	Documentation and calculations for any applicable site design credits that are being utilized

⁭	Methodologies, assumptions, site parameters and supporting design calculations used in the analyzing the post development conditions site hydrology

3.3 Post Development Conditions Map – A map documenting the following elements should be provided with the following information if applicable.

⁭	Topography (2-ft or less contour interval) of proposed site conditions

⁭	Perennial / intermittent streams, wetlands, lakes and other surface water features

⁭	Drainage basin delineations showing the location of each drainage sub-basin

⁭	Proposed stormwater conveyances and structural control facilities

⁭	Direction of flow and discharge points from the site including sheet flow areas

⁭	Location and boundaries of proposed natural feature protection areas

3.4 Post Development Conditions Tables – Tables documenting the following information should be provided if applicable.

⁭	A table listing the acreage, soil types, impervious surface area and land cover characteristics for each sub-basin

⁭	A table listing the peak runoff rates and total runoff volumes from each sub-basin

⁭	A table listing the peak runoff rates and total runoff volumes for each drainage area upstream of the project site

⁭	A table listing the peak discharge rates, total runoff volumes and peak elevations for all detention ponds studied.

Section 4. Stormwater Management System

4.1 The stormwater management system section should provide the reader with a comprehensive description of the proposed stormwater management system components on site. The designer should provide the following information with this element of the report:

4.2 Narratives – A narrative and supporting calculations describing the on-site stormwater management controls to be utilized. This narrative should include appropriate narratives / tables demonstrating compliance with the various stormwater management requirements outlined in the post-development article of the stormwater ordinance and local design manual.

⁭	Narrative describing that appropriate and effective structural stormwater controls have been selected

⁭	Design calculations and elevations for all existing and proposed stormwater conveyance elements including stormwater drains, pipes culverts catch basins, channels, swales and areas of overland flow

⁭	Soil corrosivity and resistivity tests if using metal pipes

4.3 Stormwater Management System Map(s) – A map(s) illustrating the location, type and specifications of all stormwater management components to provide stormwater management for the proposed site.

⁭	Location of all non-structural stormwater controls

⁭	Location of all existing stormwater controls to remain after development

⁭	Location of all proposed stormwater controls

⁭	Location of all proposed impoundment type controls (i.e. detention ponds, stormwater ponds, stormwater wetlands, etc.)

⁭	Location of all conveyance structures

⁭	All impoundment type controls should be labeled with the following information: maximum water surface elevation, depth and storage volumes for both the design storm and maximum water surface if the design storm event is exceeded (i.e. top of dam)

⁭	All inlets to conveyance structures should be labeled with the following information: maximum design water surface and maximum potential water surface

⁭	All pipes should be labeled with length, material and slope

⁭	All pipes should be profiled and labeled with length, material, slope and hydraulic grade line

Section 5. Downstream Analysis

5.1 The downstream analysis should provide the reader with a comprehensive picture of the downstream areas and their capacity to accommodate stormwater runoff from the proposed development.

5.2 Narratives – A narrative and supporting calculations for a downstream peak flow analysis using the ten-percent rule necessary to show safe passage of the post-development design flows downstream. This narrative should include appropriate descriptions / tables for points of interest such as culverts and channel constrictions downstream of the project where increases in stormwater runoff rates could be of concern.

5.3 A map(s) illustrating the location, type and specifications of all stormwater management components to provide stormwater management for the proposed site.

⁭	Drainage basin delineations showing the point at which the contributing area of the project represents 10% of the total drainage basin area

⁭	Identify culverts, channels and other structural stormwater controls that the stormwater runoff must pass through prior to the 10% point identified previously

Section 6. Planting Plan

6.1 If necessary, a planting plan should be included for all stormwater controls that utilize vegetation as part of the functional design.

Section 7. Operations & Maintenance Plan

7.1 A narrative of what maintenance tasks will be required for the stormwater controls specified for the site as well as the responsible parties. Additionally, the report will need to identify access and safety issues for the site.

Source GDOT Manual on Drainage Design for Highways, September 2014 Table 7.2